## leaf cd survey dec15 morning_
OPEN 6.3.4
Fri Dec 15 2023 08:11:33
Unit= | PSC-4468
LCF= | LCF-2246
LCFCals= | -2.29 | -0.22 | -2864
LightSource= | 6400-40 Fluorometer | 1 | 0.16
A/D AvgTime= | 4
Log AvgTime= | 15
Config= | /User/Configs/UserPrefs/LCF_Source-cacao-survey.xml
Remark= | seond day of cd (48h)
Obs | HHMMSS | Cd level | plant number | positon | stage | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 08:15:14 | 10 | 1 | A | E | 403.5 | 0 | 2.7355 | 0.027386 | 328.7401 | 0.39485 | 1.389 | 27.3583 | 2 | 4.6449 | 0 | 4.6449 | 27.7717 | 27.3583 | 27.6752 | 500.1387 | 498.9656 | 22.7978 | 22.9521 | 60.1109 | 60.5178 | 499.9536 | 115.5939 | 0.031114 | 98.7343 | -1.7595 | 0.22417 | 0.060854 | 0.013627 | 0.052981 | 0.01245 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4998 | 0.00039485 | 300.5083 | 300.9217 | 18.495 | 0.022611 | 3.6552 | 37.0203 | 14.0681 | 27.565 | 3.6997 | 0.027225 | 2.2662 | 1.4335 | 0.01703 | 32.4579 | 0.65884 | 61.0537 | 498.1705 | 0.0033526
2 | 08:18:15 | 10 | 2 | A | E | 584.5 | 0 | 2.1967 | 0.048052 | 414.6645 | 0.69333 | 1.3957 | 27.5547 | 2 | 4.6449 | 0 | 4.6449 | 28.0326 | 27.5547 | 27.9544 | 500.1155 | 499.0984 | 23.041 | 23.3119 | 59.8365 | 60.5399 | 499.9935 | 115.0495 | 0.047688 | 98.7379 | -1.8205 | 0.23044 | 0.11403 | 0.0013606 | 0.099345 | 0.0030547 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00069333 | 300.7047 | 301.1826 | 18.4079 | -0.025006 | 3.6974 | 37.447 | 14.1351 | 27.7937 | 3.7494 | 0.04756 | 2.3018 | 1.4477 | 0.029769 | 40.9431 | 0.83083 | 61.4689 | 498.46 | 0.002709
3 | 08:21:13 | 0 | 3 | A | E | 762.5 | 0 | 2.8956 | 0.035876 | 358.5402 | 0.53496 | 1.4382 | 27.7899 | 2 | 4.6449 | 0 | 4.6449 | 28.245 | 27.7899 | 28.1851 | 500.0928 | 498.8278 | 23.1887 | 23.3977 | 59.4832 | 60.0193 | 499.9759 | 115.6756 | 0.037215 | 98.7437 | -1.8879 | 0.22725 | 0.020216 | 0.0013332 | 0.019997 | 0.0018023 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00053496 | 300.9399 | 301.395 | 18.5081 | 0.0010426 | 3.7486 | 37.9631 | 14.5654 | 28.0175 | 3.7987 | 0.035601 | 2.3104 | 1.4883 | 0.022275 | 35.4036 | 0.71877 | 60.7217 | 497.9862 | 0.0035307
4 | 08:24:04 | 20 | 4 | A | E | 933.5 | 0 | 2.188 | 0.05317 | 421.281 | 0.79613 | 1.4493 | 27.9347 | 2 | 4.6449 | 0 | 4.6449 | 28.4328 | 27.9347 | 28.3858 | 499.9317 | 498.8976 | 23.2949 | 23.6058 | 59.1117 | 59.9007 | 499.9777 | 115.7089 | 0.11502 | 98.7523 | -1.896 | 0.22575 | 0.058132 | 0.0019083 | 0.092246 | 0.0008401 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00079613 | 301.0847 | 301.5828 | 18.5134 | -0.040898 | 3.7804 | 38.2818 | 14.676 | 28.1838 | 3.8357 | 0.052569 | 2.3311 | 1.5046 | 0.032909 | 41.6025 | 0.84442 | 60.8869 | 498.2617 | 0.0026737
5 | 08:28:17 | 20 | 5 | A | E | 1185 | 0 | 2.9534 | 0.036789 | 358.8119 | 0.57023 | 1.4948 | 28.1504 | 2 | 4.6449 | 0 | 4.6449 | 28.6506 | 28.1504 | 28.6163 | 500.1294 | 498.8342 | 23.4042 | 23.6269 | 58.6487 | 59.2068 | 499.9737 | 115.6275 | 0.035701 | 98.7623 | -2.0064 | 0.22975 | 0.1067 | 0.0013053 | 0.10027 | 0.00092955 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00057023 | 301.3004 | 301.8006 | 18.5004 | -0.0028052 | 3.8282 | 38.7621 | 15.1352 | 28.4005 | 3.8843 | 0.0365 | 2.3334 | 1.5509 | 0.022838 | 35.4371 | 0.7193 | 60.0131 | 497.9758 | 0.0035592
Remark= | "08:32:15 Didn't match! Valve stuck or flow problem."
6 | 08:32:10 | 20 | 5 | A | E | 1405.5 | 0 | -36.9331 | 0.065829 | 1398.7765 | 1.0335 | 1.5228 | 28.3966 | 2 | 4.6449 | 0 | 4.6449 | 28.9595 | 28.3966 | 28.8911 | 499.9695 | 514.5309 | 23.4982 | 23.9017 | 57.8408 | 58.8341 | 499.9677 | 115.5999 | 0.13367 | 98.7641 | -2.0064 | 0.22975 | 0.1067 | 0.0013053 | 0.10027 | 0.00092955 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4998 | 0.0010335 | 301.5466 | 302.1095 | 18.496 | -0.077837 | 3.8835 | 39.3205 | 15.4188 | 28.678 | 3.9474 | 0.064909 | 2.3606 | 1.5868 | 0.04065 | 138.1489 | 2.7185 | 60.0726 | 525.2653 | -0.042239
7 | 08:34:44 | 0 | 6 | A | E | 1573.5 | 0 | 1.1839 | 0.02173 | 399.9757 | 0.36099 | 1.5961 | 28.6291 | 2 | 4.6449 | 0 | 4.6449 | 29.1239 | 28.6291 | 29.1057 | 500.0445 | 499.4988 | 23.5529 | 23.6939 | 57.4292 | 57.7729 | 499.9842 | 115.4616 | 0.052578 | 98.7688 | -2.0018 | 0.24735 | 0.070488 | 0.0013071 | 0.045363 | 0.0029871 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00036099 | 301.7791 | 302.2739 | 18.4739 | 0.03214 | 3.9363 | 39.8533 | 16.1595 | 28.8765 | 3.9931 | 0.021629 | 2.3402 | 1.6529 | 0.013527 | 39.5051 | 0.80075 | 58.317 | 499.1547 | 0.0013832
8 | 08:36:53 | 0 | 7 | B | E | 1701 | 0 | 0.048404 | 0.040868 | 484.8911 | 0.67046 | 1.5825 | 28.6636 | 2 | 4.6449 | 0 | 4.6449 | 29.2786 | 28.6636 | 29.2796 | 499.9751 | 499.8217 | 23.6489 | 23.9107 | 57.1514 | 57.784 | 499.9818 | 115.4231 | 0.09966 | 98.7705 | -1.8537 | 0.24294 | 0.18462 | 0.0029781 | 0.15945 | 0.0024048 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00067046 | 301.8136 | 302.4286 | 18.4677 | -0.014456 | 3.9441 | 39.9323 | 16.0217 | 28.9711 | 4.015 | 0.040511 | 2.3617 | 1.6534 | 0.025351 | 47.8929 | 0.97013 | 58.9164 | 499.8076 | 5.7058e-05
9 | 08:41:49 | 0 | 8 | B | E | 1998.5 | 0 | 1.5397 | 0.024034 | 384.9549 | 0.3881 | 1.5525 | 28.5088 | 2 | 4.6449 | 0 | 4.6449 | 29.2198 | 28.5088 | 29.281 | 500.0844 | 499.391 | 23.7038 | 23.8554 | 57.4828 | 57.8503 | 500.0037 | 115.8823 | 0.082436 | 98.777 | -2.0455 | 0.2443 | 0.06909 | 0.0018987 | 0.068095 | 0.0013253 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0003881 | 301.6588 | 302.3698 | 18.5412 | 0.037623 | 3.9089 | 39.5726 | 15.7172 | 28.8643 | 3.9903 | 0.02391 | 2.3564 | 1.6339 | 0.014955 | 38.0247 | 0.77085 | 59.1929 | 498.9434 | 0.0018267
10 | 08:42:35 | 10 | 8 | B | E | 2043 | 0 | 1.3391 | 0.019034 | 374.9114 | 0.30973 | 1.5627 | 28.5589 | 2 | 4.6449 | 0 | 4.6449 | 29.2466 | 28.5589 | 29.301 | 499.89 | 499.2924 | 23.7467 | 23.8676 | 57.4979 | 57.7907 | 499.9983 | 115.8177 | 0.096819 | 98.7774 | -2.0517 | 0.24258 | 0.0828 | 0.0055383 | 0.059968 | 0.0056157 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00030973 | 301.7089 | 302.3966 | 18.5308 | 0.049715 | 3.9203 | 39.6878 | 15.8202 | 28.9027 | 3.9992 | 0.018956 | 2.3576 | 1.6416 | 0.011855 | 37.0328 | 0.75089 | 58.9981 | 498.9032 | 0.0015836
11 | 08:44:40 | 10 | 9 | B | E | 2169.5 | 0 | 1.9442 | 0.038689 | 406.3302 | 0.63059 | 1.5712 | 28.729 | 2 | 4.6449 | 0 | 4.6449 | 29.4121 | 28.729 | 29.4458 | 500.101 | 499.1973 | 23.9289 | 24.1751 | 57.388 | 57.9784 | 499.98 | 115.2432 | 0.098837 | 98.777 | -1.9485 | 0.24025 | 0.033627 | 0.0035516 | 0.070852 | 0.0047777 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00063059 | 301.879 | 302.5621 | 18.4389 | -0.0047474 | 3.9591 | 40.0816 | 15.9066 | 29.0706 | 4.0382 | 0.03837 | 2.3879 | 1.6503 | 0.02401 | 40.1361 | 0.81397 | 59.336 | 498.6323 | 0.0023135
12 | 08:47:18 | 0 | 10 | B | E | 2327.5 | 0 | 2.8205 | 0.05292 | 400.6663 | 0.86946 | 1.5878 | 28.9752 | 2 | 4.6449 | 0 | 4.6449 | 29.6536 | 28.9752 | 29.6735 | 500.0118 | 498.7102 | 24.2433 | 24.5825 | 57.338 | 58.1404 | 499.9881 | 115.1159 | 0.096587 | 98.7765 | -1.9415 | 0.23496 | 0.040312 | 0.0046845 | 0.051236 | 0.0043034 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00086946 | 302.1252 | 302.8036 | 18.4185 | -0.045122 | 4.016 | 40.6574 | 16.0749 | 29.3144 | 4.0955 | 0.052324 | 2.4282 | 1.6673 | 0.032755 | 39.5764 | 0.80341 | 59.5898 | 497.8904 | 0.0033757
13 | 08:50:19 | 20 | 11 | B | E | 2508.5 | 0 | 1.1948 | 0.01955 | 389.3594 | 0.3266 | 1.603 | 29.0615 | 2 | 4.6449 | 0 | 4.6449 | 29.7502 | 29.0615 | 29.7925 | 499.9626 | 499.4194 | 24.5043 | 24.6317 | 57.6365 | 57.9362 | 499.9836 | 115.0897 | 0.097453 | 98.7813 | -1.9651 | 0.23984 | 0.036925 | 0.0029268 | 0.037258 | 0.0036783 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.0003266 | 302.2115 | 302.9002 | 18.4143 | 0.046626 | 4.0361 | 40.8591 | 16.2274 | 29.4059 | 4.1172 | 0.019468 | 2.4332 | 1.6841 | 0.012175 | 38.4614 | 0.77962 | 59.1121 | 499.0721 | 0.0014152
14 | 08:54:50 | 20 | 12 | B | E | 2779.5 | 0 | 1.3449 | 0.062227 | 451.7215 | 1.0122 | 1.5741 | 29.2597 | 2 | 4.6449 | 0 | 4.6449 | 30.0117 | 29.2597 | 30.0485 | 499.9547 | 499.2146 | 24.9994 | 25.394 | 57.925 | 58.8394 | 499.9922 | 114.997 | 0.025142 | 98.7837 | -2.0318 | 0.23793 | 0.025167 | 0.0016832 | 0.039126 | 0.0024953 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0010122 | 302.4097 | 303.1617 | 18.3995 | -0.065737 | 4.0826 | 41.3289 | 15.9349 | 29.6357 | 4.1721 | 0.061404 | 2.5085 | 1.6636 | 0.038451 | 44.6227 | 0.90486 | 60.6403 | 498.8237 | 0.0016349
15 | 08:58:53 | 20 | 13 | C | E | 3022.5 | 0 | 0.73883 | 0.042084 | 458.1857 | 0.70731 | 1.6185 | 29.5807 | 2 | 4.6449 | 0 | 4.6449 | 30.2935 | 29.5807 | 30.3203 | 499.9064 | 499.4696 | 25.441 | 25.7166 | 58.0035 | 58.6319 | 500.0184 | 114.8717 | 0.089836 | 98.7846 | -1.8987 | 0.23744 | 0.074239 | 0.0051982 | 0.055386 | 0.0050456 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00070731 | 302.7307 | 303.4435 | 18.3795 | -0.01624 | 4.1589 | 42.1008 | 16.3842 | 29.9371 | 4.2451 | 0.041706 | 2.5404 | 1.7047 | 0.0261 | 45.2617 | 0.91734 | 60.0792 | 499.2548 | 0.0008891
16 | 09:02:18 | 10 | 14 | C | E | 3227.5 | 0 | 2.8994 | 0.049274 | 391.333 | 0.84283 | 1.6489 | 29.845 | 2 | 4.6449 | 0 | 4.6449 | 30.5209 | 29.845 | 30.548 | 499.9537 | 498.626 | 25.7256 | 26.0539 | 57.8942 | 58.633 | 500.0919 | 182.819 | 0.065985 | 98.7856 | -1.8547 | 0.23477 | 0.041384 | 0.0027434 | 0.038846 | 0.0028554 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5005 | 0.00084283 | 302.995 | 303.6709 | 29.251 | 0.00080552 | 4.2227 | 42.7457 | 16.6918 | 30.1829 | 4.3054 | 0.048757 | 2.5738 | 1.7317 | 0.030519 | 38.6581 | 0.78482 | 59.9843 | 497.7833 | 0.0034939
17 | 09:05:48 | 10 | 15 | C | E | 3437.5 | 0 | 2.6955 | 0.031335 | 348.4679 | 0.54967 | 1.6841 | 29.9959 | 2 | 4.6449 | 0 | 4.6449 | 30.6823 | 29.9959 | 30.7098 | 500.045 | 498.8571 | 25.8567 | 26.0708 | 57.6521 | 58.1296 | 500.0083 | 114.2866 | 0.097798 | 98.7818 | -1.8776 | 0.23655 | 0.089777 | 0.0019903 | 0.098308 | 0.0018489 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00054967 | 303.1459 | 303.8323 | 18.2858 | 0.0088173 | 4.2594 | 43.1198 | 17.049 | 30.3391 | 4.3441 | 0.031125 | 2.5753 | 1.7688 | 0.019472 | 34.4223 | 0.69853 | 59.3189 | 498.0737 | 0.0032103
18 | 09:09:21 | 20 | 16 | C | E | 3650.5 | 0 | 1.9459 | 0.062489 | 435.56 | 1.0727 | 1.6587 | 30.0271 | 2 | 4.6449 | 0 | 4.6449 | 30.7824 | 30.0271 | 30.8164 | 499.9329 | 498.9404 | 25.9897 | 26.4074 | 57.6156 | 58.5417 | 499.9991 | 114.4532 | 0.14047 | 98.7771 | -1.7984 | 0.23092 | 0.025661 | 0.0015291 | 0.057676 | 0.001104 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0010727 | 303.1771 | 303.9324 | 18.3125 | -0.075795 | 4.2671 | 43.1993 | 16.7919 | 30.4048 | 4.3605 | 0.061659 | 2.6084 | 1.7521 | 0.038611 | 43.0233 | 0.87297 | 60.2623 | 498.3748 | 0.002353
19 | 09:12:04 | 0 | 17 | C | E | 3812.5 | 0 | 1.7123 | 0.023179 | 367.929 | 0.41636 | 1.7208 | 30.208 | 2 | 4.6449 | 0 | 4.6449 | 30.8595 | 30.208 | 30.8927 | 499.9147 | 499.1466 | 26.0667 | 26.2289 | 57.5319 | 57.8898 | 499.9994 | 114.2411 | 0.0064044 | 98.7759 | -1.9311 | 0.23486 | 0.032351 | 0.0022576 | 0.055944 | 0.001207 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00041636 | 303.358 | 304.0095 | 18.2786 | 0.029642 | 4.3116 | 43.6506 | 17.4217 | 30.5338 | 4.3928 | 0.023064 | 2.5908 | 1.802 | 0.014425 | 36.3425 | 0.73712 | 58.8486 | 498.6489 | 0.0020208
20 | 09:15:34 | 0 | 18 | C | E | 4022 | 0 | 2.4613 | 0.058057 | 417.2136 | 1.023 | 1.7005 | 30.2395 | 2 | 4.6449 | 0 | 4.6449 | 30.9937 | 30.2395 | 31.0337 | 500.0113 | 498.8226 | 26.1137 | 26.512 | 57.1999 | 58.0725 | 499.9947 | 114.413 | 0.10022 | 98.7823 | -2.0438 | 0.23205 | 0.12893 | 0.003976 | 0.091245 | 0.0032765 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.001023 | 303.3895 | 304.1437 | 18.3061 | -0.06744 | 4.3194 | 43.7265 | 17.2145 | 30.6166 | 4.4137 | 0.05734 | 2.6189 | 1.7948 | 0.035901 | 41.2133 | 0.8364 | 59.7023 | 498.1072 | 0.0029501
21 | 09:17:36 | 20 | 19 | D | E | 4145.5 | 0 | 2.8882 | 0.035707 | 356.1807 | 0.63961 | 1.7206 | 30.2705 | 2 | 4.6449 | 0 | 4.6449 | 31.0318 | 30.2705 | 31.086 | 500.0636 | 498.7807 | 26.1352 | 26.3843 | 57.1267 | 57.6711 | 500.0016 | 114.2774 | 0.066467 | 98.7891 | -1.8482 | 0.23292 | 0.085511 | 0.0024238 | 0.050841 | 0.0021187 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00063961 | 303.4205 | 304.1818 | 18.2844 | -0.0027603 | 4.3271 | 43.8014 | 17.4171 | 30.6511 | 4.4224 | 0.035435 | 2.6065 | 1.8159 | 0.022171 | 35.1868 | 0.7141 | 59.1044 | 497.9413 | 0.0034282
22 | 09:20:17 | 20 | 20 | D | E | 4305 | 0 | 1.9602 | 0.056022 | 429.2967 | 0.98578 | 1.6977 | 30.2367 | 2 | 4.6449 | 0 | 4.6449 | 31.0295 | 30.2367 | 31.0822 | 500.043 | 499.0621 | 26.1457 | 26.5296 | 57.1624 | 58.0016 | 499.9868 | 114.3322 | 0.093384 | 98.7981 | -1.9161 | 0.23615 | 0.15622 | 0.0037788 | 0.16853 | 0.0022012 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00098578 | 303.3867 | 304.1795 | 18.2932 | -0.059451 | 4.3187 | 43.7126 | 17.183 | 30.6331 | 4.4179 | 0.055355 | 2.6211 | 1.7968 | 0.034656 | 42.4137 | 0.86021 | 59.7456 | 498.4924 | 0.0023494
23 | 09:25:48 | 10 | 21 | D | E | 4636 | 0 | 0.41044 | 0.029582 | 463.5952 | 0.52857 | 1.7147 | 30.1663 | 2 | 4.6449 | 0 | 4.6449 | 30.9539 | 30.1663 | 31.0184 | 500.0309 | 499.761 | 25.975 | 26.1809 | 57.0352 | 57.4873 | 500.0046 | 114.2372 | 0.065689 | 98.7997 | -1.8962 | 0.23573 | 0.068038 | 0.0040026 | 0.07315 | 0.0016014 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00052857 | 303.3163 | 304.1039 | 18.278 | 0.017053 | 4.3013 | 43.5358 | 17.3549 | 30.5601 | 4.3995 | 0.029395 | 2.5867 | 1.8128 | 0.018389 | 45.8031 | 0.92763 | 58.958 | 499.6417 | 0.00048432
24 | 09:27:32 | 0 | 22 | D | E | 4740 | 0 | 1.4502 | 0.039616 | 426.944 | 0.7074 | 1.7172 | 30.1864 | 2 | 4.6449 | 0 | 4.6449 | 30.972 | 30.1864 | 31.0325 | 499.9898 | 499.2685 | 25.9292 | 26.2048 | 56.8769 | 57.4813 | 499.9965 | 114.4568 | 0.078541 | 98.801 | -1.9583 | 0.23226 | 0.12587 | 0.001564 | 0.073585 | 0.0041433 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0007074 | 303.3364 | 304.122 | 18.3131 | -0.012947 | 4.3063 | 43.5853 | 17.3805 | 30.5792 | 4.4043 | 0.039281 | 2.5891 | 1.8152 | 0.02458 | 42.1825 | 0.85514 | 59.0307 | 498.847 | 0.001716
25 | 09:29:27 | 0 | 23 | D | E | 4856.5 | 0 | 1.8604 | 0.054118 | 430.0362 | 0.96689 | 1.7233 | 30.228 | 2 | 4.6449 | 0 | 4.6449 | 30.9986 | 30.228 | 31.0535 | 499.9374 | 499.0002 | 25.871 | 26.2477 | 56.6622 | 57.4871 | 499.9812 | 114.0397 | 0.026483 | 98.7992 | -1.9188 | 0.23385 | 0.10207 | 0.005216 | 0.10866 | 0.0044004 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00096689 | 303.378 | 304.1486 | 18.2464 | -0.057484 | 4.3166 | 43.6903 | 17.4426 | 30.6133 | 4.4129 | 0.053494 | 2.5932 | 1.8196 | 0.033489 | 42.4872 | 0.8618 | 59.1064 | 498.4595 | 0.0022061
26 | 09:31:32 | 10 | 24 | D | E | 4980 | 0 | 2.0989 | 0.047181 | 414.0533 | 0.84755 | 1.7302 | 30.2071 | 2 | 4.6449 | 0 | 4.6449 | 31.0054 | 30.2071 | 31.0596 | 500.0958 | 499.0871 | 25.796 | 26.1262 | 56.4737 | 57.1965 | 500.0013 | 114.2817 | 0.052317 | 98.7956 | -2.0324 | 0.22813 | 0.18968 | 0.0028484 | 0.20003 | 0.0021216 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00084755 | 303.3571 | 304.1554 | 18.2851 | -0.036006 | 4.3114 | 43.6395 | 17.5133 | 30.6063 | 4.4111 | 0.046707 | 2.5812 | 1.8299 | 0.029234 | 40.9066 | 0.82962 | 58.8359 | 498.477 | 0.0024774
27 | 09:33:31 | 0 | 25 | E | E | 5100.5 | 0 | 3.2143 | 0.0498 | 381.3642 | 0.901 | 1.7434 | 30.2734 | 2 | 4.6449 | 0 | 4.6449 | 31.0673 | 30.2734 | 31.115 | 499.899 | 498.4337 | 25.8079 | 26.1588 | 56.3012 | 57.0668 | 500.0153 | 114.0222 | 0.063352 | 98.7964 | -1.9256 | 0.22108 | 0.055767 | 0.0019488 | 0.085653 | 0.0021871 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.000901 | 303.4234 | 304.2173 | 18.2435 | -0.045327 | 4.3278 | 43.8055 | 17.6466 | 30.6704 | 4.4273 | 0.049272 | 2.5844 | 1.8429 | 0.030842 | 37.6774 | 0.76513 | 58.6984 | 497.4995 | 0.0037924
28 | 09:35:40 | 0 | 26 | E | E | 5228 | 0 | 1.8393 | 0.045079 | 419.6658 | 0.82961 | 1.7711 | 30.4395 | 2 | 4.6449 | 0 | 4.6449 | 31.2363 | 30.4395 | 31.281 | 500.0313 | 499.13 | 25.9756 | 26.2988 | 56.1227 | 56.8208 | 500.0044 | 114.0345 | 0.062962 | 98.7934 | -1.9265 | 0.22416 | 0.12916 | 0.0034887 | 0.11316 | 0.0015925 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00082961 | 303.5895 | 304.3863 | 18.2455 | -0.033128 | 4.3692 | 44.2256 | 17.9269 | 30.8379 | 4.4699 | 0.044646 | 2.5981 | 1.8717 | 0.027942 | 41.4602 | 0.84079 | 58.3872 | 498.5954 | 0.0021539
29 | 09:37:43 | 10 | 27 | E | E | 5352.5 | 0 | 1.8605 | 0.034619 | 399.1072 | 0.64316 | 1.7836 | 30.5391 | 2 | 4.6449 | 0 | 4.6449 | 31.3564 | 30.5391 | 31.414 | 499.9499 | 499.0773 | 26.1732 | 26.4236 | 56.1662 | 56.7037 | 500.0012 | 113.9513 | 0.054222 | 98.7965 | -1.9283 | 0.21851 | 0.055192 | 0.0024655 | 0.049386 | 0.0026318 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00064316 | 303.6891 | 304.5064 | 18.2322 | -0.00086496 | 4.3942 | 44.4769 | 18.0533 | 30.9477 | 4.4979 | 0.034363 | 2.6106 | 1.8874 | 0.0215 | 39.4304 | 0.79969 | 58.2293 | 498.5366 | 0.0021731
30 | 09:39:32 | 10 | 28 | E | E | 5461.5 | 0 | 1.8664 | 0.029369 | 383.6751 | 0.55284 | 1.8048 | 30.6589 | 2 | 4.6449 | 0 | 4.6449 | 31.4113 | 30.6589 | 31.4697 | 500.1292 | 499.2722 | 26.2986 | 26.5138 | 56.261 | 56.7215 | 500.0136 | 113.6959 | 0.056083 | 98.7994 | -1.8755 | 0.21693 | 0.1108 | 0.0018322 | 0.10753 | 0.0026283 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00055284 | 303.8089 | 304.5613 | 18.1913 | 0.011188 | 4.4244 | 44.7815 | 18.2676 | 31.0351 | 4.5204 | 0.029185 | 2.6196 | 1.9009 | 0.018257 | 37.9069 | 0.76847 | 57.965 | 498.7298 | 0.0021692
31 | 09:42:39 | 20 | 29 | E | E | 5648 | 0 | 2.2135 | 0.021429 | 320.6612 | 0.40899 | 1.8264 | 30.8213 | 2 | 4.6449 | 0 | 4.6449 | 31.5865 | 30.8213 | 31.6689 | 500.1219 | 499.1548 | 26.5517 | 26.7109 | 56.2438 | 56.5811 | 500.0211 | 113.535 | 0.020598 | 98.8062 | -1.9598 | 0.2238 | 0.041607 | 0.0021566 | 0.066649 | 0.0042673 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00040899 | 303.9713 | 304.7365 | 18.1656 | 0.035907 | 4.4656 | 45.1957 | 18.4847 | 31.2039 | 4.5641 | 0.02133 | 2.6392 | 1.9249 | 0.01334 | 31.6833 | 0.64241 | 57.7702 | 498.5115 | 0.0025651
32 | 09:46:33 | 20 | 30 | E | E | 5881 | 0 | 1.4303 | 0.022594 | 383.9637 | 0.43056 | 1.8237 | 30.8815 | 2 | 4.6449 | 0 | 4.6449 | 31.6776 | 30.8815 | 31.7629 | 499.8503 | 499.1922 | 26.725 | 26.8926 | 56.3211 | 56.6742 | 500.0101 | 113.6205 | 0.12398 | 98.8097 | -1.9603 | 0.22574 | 0.096292 | 0.0018537 | 0.12075 | 0.0022874 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00043056 | 304.0315 | 304.8276 | 18.1793 | 0.033789 | 4.481 | 45.3497 | 18.4571 | 31.2795 | 4.5838 | 0.022485 | 2.6572 | 1.9265 | 0.014063 | 37.9393 | 0.76917 | 57.9797 | 498.7765 | 0.0016626
33 | 09:51:15 | 10 | 31 | F | E | 6163 | 0 | 0.1817 | 0.023016 | 471.9705 | 0.45057 | 1.8733 | 31.0995 | 2 | 4.6449 | 0 | 4.6449 | 31.8974 | 31.0995 | 31.9852 | 500.1045 | 499.9417 | 26.7807 | 26.9561 | 55.7446 | 56.1096 | 500.0159 | 113.4324 | 0.10256 | 98.8186 | -1.9578 | 0.22013 | 0.052023 | 0.0055716 | 0.053158 | 0.0042933 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00045057 | 304.2495 | 305.0474 | 18.1492 | 0.030471 | 4.537 | 45.9129 | 18.9568 | 31.4985 | 4.6412 | 0.022902 | 2.6638 | 1.9774 | 0.014324 | 46.6394 | 0.94405 | 57.3614 | 499.8889 | 0.0002085
34 | 09:54:34 | 10 | 32 | F | E | 6363.5 | 0 | 3.7484 | 0.049532 | 362.7048 | 0.94258 | 1.8318 | 30.9135 | 2 | 4.6449 | 0 | 4.6449 | 31.794 | 30.9135 | 31.9327 | 499.8037 | 498.1165 | 26.5239 | 26.8908 | 55.5347 | 56.3029 | 499.9894 | 114.4672 | 0.090657 | 98.8193 | -2.0637 | 0.21766 | 0.040882 | 0.0048219 | 0.069131 | 0.0052062 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00094258 | 304.0635 | 304.944 | 18.3148 | -0.047763 | 4.4892 | 45.428 | 18.5372 | 31.3537 | 4.6032 | 0.049009 | 2.6573 | 1.9458 | 0.030677 | 35.8422 | 0.72815 | 58.1101 | 497.027 | 0.0043824
35 | 09:59:03 | 0 | 33 | F | E | 6632.5 | 0 | 1.9661 | 0.029676 | 378.5803 | 0.58491 | 1.889 | 31.0648 | 2 | 4.6449 | 0 | 4.6449 | 31.8276 | 31.0648 | 31.9348 | 499.9788 | 499.0757 | 26.4782 | 26.7059 | 55.3331 | 55.8089 | 500.03 | 113.439 | 0.0059285 | 98.8179 | -2.0753 | 0.22546 | 0.017394 | 0.0033388 | 0.023483 | 0.0011333 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5002 | 0.00058491 | 304.2148 | 304.9776 | 18.1502 | 0.0062644 | 4.5281 | 45.8224 | 19.1164 | 31.4462 | 4.6274 | 0.029488 | 2.639 | 1.9884 | 0.018447 | 37.4105 | 0.75856 | 56.9864 | 498.5042 | 0.0022475
36 | 10:02:24 | 20 | 34 | F | E | 6832 | 0 | 2.5273 | 0.032127 | 358.5029 | 0.64129 | 1.9133 | 31.2735 | 2 | 4.6449 | 0 | 4.6449 | 31.9945 | 31.2735 | 32.0732 | 500.0244 | 498.8856 | 26.7585 | 27.008 | 55.3931 | 55.9097 | 500.0115 | 113.6278 | 0.016963 | 98.8189 | -2.0634 | 0.21353 | 0.13189 | 0.00138 | 0.17047 | 0.0011728 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00064129 | 304.4235 | 305.1445 | 18.1804 | -0.004968 | 4.5822 | 46.3699 | 19.3618 | 31.634 | 4.6771 | 0.031906 | 2.6689 | 2.0081 | 0.019961 | 35.4268 | 0.71861 | 56.9523 | 498.151 | 0.0028894
37 | 10:07:48 | 20 | 35 | F | E | 7156 | 0 | 2.2772 | 0.034942 | 380.8366 | 0.64872 | 1.7819 | 30.7434 | 2 | 4.6449 | 0 | 4.6449 | 31.5345 | 30.7434 | 31.6583 | 499.976 | 498.9357 | 26.7052 | 26.9577 | 56.7426 | 57.2791 | 500.0107 | 114.2521 | 0.067419 | 98.8169 | -2.0975 | 0.21289 | 0.039867 | 0.0014091 | 0.020629 | 0.00087563 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00064872 | 303.8934 | 304.6845 | 18.2803 | -0.0027577 | 4.4458 | 44.9902 | 18.0325 | 31.1389 | 4.5472 | 0.034681 | 2.6639 | 1.8834 | 0.021699 | 37.6331 | 0.7633 | 58.7338 | 498.2738 | 0.0026843
38 | 10:10:22 | 0 | 36 | F | E | 7310 | 0 | 3.4131 | 0.052132 | 379.5522 | 0.95799 | 1.7699 | 30.7757 | 2 | 4.6449 | 0 | 4.6449 | 31.5676 | 30.7757 | 31.6646 | 499.8958 | 498.3397 | 26.79 | 27.1628 | 56.815 | 57.6056 | 500.0211 | 114.1198 | 0.050455 | 98.8155 | -2.0285 | 0.21455 | 0.029066 | 0.0012895 | 0.020203 | 0.0012069 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00095799 | 303.9257 | 304.7176 | 18.2592 | -0.054743 | 4.454 | 45.074 | 17.9112 | 31.1717 | 4.5557 | 0.051554 | 2.6841 | 1.8716 | 0.032272 | 37.5056 | 0.76163 | 59.2312 | 497.3477 | 0.0040648
39 | 10:12:20 | 20 | 37 | G | E | 7429.5 | 0 | 2.5967 | 0.042035 | 385.8143 | 0.78351 | 1.7912 | 30.862 | 2 | 4.6449 | 0 | 4.6449 | 31.6328 | 30.862 | 31.7141 | 499.9063 | 498.7114 | 26.8658 | 27.1707 | 56.7644 | 57.4086 | 500.0157 | 113.7761 | 0.0085244 | 98.8141 | -2.1117 | 0.21265 | 0.054575 | 0.0028668 | 0.073991 | 0.0011277 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00078351 | 304.012 | 304.7828 | 18.2042 | -0.026591 | 4.476 | 45.2973 | 18.1266 | 31.2474 | 4.5754 | 0.041658 | 2.6848 | 1.8906 | 0.02607 | 38.1239 | 0.77362 | 58.851 | 497.9566 | 0.0030689
40 | 10:14:47 | 0 | 38 | G | E | 7575.5 | 0 | 0.72946 | 0.014145 | 402.8126 | 0.27375 | 1.8482 | 31.0375 | 2 | 4.6449 | 0 | 4.6449 | 31.7345 | 31.0375 | 31.8058 | 499.8901 | 499.5436 | 26.9426 | 27.0492 | 56.5982 | 56.822 | 500.0243 | 113.5469 | 0.0077024 | 98.8125 | -2.1238 | 0.21943 | 0.025024 | 0.0020188 | 0.023787 | 0.0017018 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00027375 | 304.1875 | 304.8845 | 18.1675 | 0.05553 | 4.521 | 45.7536 | 18.7045 | 31.386 | 4.6116 | 0.014103 | 2.6728 | 1.9388 | 0.0088179 | 39.8029 | 0.80636 | 57.7036 | 499.3316 | 0.00084298
41 | 10:17:02 | 0 | 37 | G | E | 7711.5 | 0 | 4.0171 | 0.046356 | 345.7506 | 0.86187 | 1.7882 | 30.8725 | 2 | 4.6449 | 0 | 4.6449 | 31.7136 | 30.8725 | 31.8174 | 500.0266 | 498.248 | 26.893 | 27.2283 | 56.561 | 57.2664 | 499.995 | 114.3828 | 0.050846 | 98.8123 | -2.095 | 0.21291 | 0.055577 | 0.0063025 | 0.092838 | 0.0080535 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00086187 | 304.0225 | 304.8636 | 18.3013 | -0.036112 | 4.4787 | 45.3251 | 18.0968 | 31.293 | 4.5873 | 0.045898 | 2.6905 | 1.8968 | 0.028727 | 34.1644 | 0.69393 | 58.9798 | 497.0804 | 0.0047664
42 | 10:19:16 | 10 | 39 | G | E | 7845.5 | 0 | 0.20411 | 0.040843 | 477.3063 | 0.74231 | 1.7467 | 30.6245 | 2 | 4.6449 | 0 | 4.6449 | 31.5005 | 30.6245 | 31.653 | 499.9044 | 499.6744 | 26.7222 | 27.0111 | 56.8849 | 57.4999 | 499.9992 | 114.7056 | 0.044268 | 98.8107 | -2.1928 | 0.21751 | 0.13695 | 0.0080881 | 0.10604 | 0.0071666 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00074231 | 303.7745 | 304.6505 | 18.3529 | -0.01431 | 4.4157 | 44.6884 | 17.6773 | 31.0625 | 4.5275 | 0.040487 | 2.669 | 1.8585 | 0.025336 | 47.163 | 0.95523 | 59.3301 | 499.6151 | 0.00024238
43 | 10:23:37 | 20 | 41 | G | E | 8105 | 0 | 2.3091 | 0.031787 | 369.0656 | 0.5908 | 1.7828 | 30.68 | 2 | 4.6449 | 0 | 4.6449 | 31.404 | 30.68 | 31.4909 | 499.9978 | 498.9563 | 26.5586 | 26.7886 | 56.8457 | 57.338 | 500.0054 | 113.9655 | 0.070059 | 98.8077 | -2.1277 | 0.21891 | 0.091126 | 0.0023098 | 0.088838 | 0.0024886 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0005908 | 303.83 | 304.554 | 18.2345 | 0.0036627 | 4.4297 | 44.8318 | 18.0432 | 31.042 | 4.5222 | 0.031571 | 2.6469 | 1.8753 | 0.019751 | 36.4665 | 0.73968 | 58.5425 | 498.2851 | 0.0027129
44 | 10:25:33 | 10 | 40 | G | E | 8221 | 0 | 0.47548 | 0.025066 | 454.6186 | 0.4759 | 1.818 | 30.8606 | 2 | 4.6449 | 0 | 4.6449 | 31.5324 | 30.8606 | 31.5805 | 499.9571 | 499.6718 | 26.7117 | 26.8969 | 56.7577 | 57.1513 | 500.0041 | 113.6885 | 0.099223 | 98.8077 | -1.9346 | 0.21379 | 0.029845 | 0.0042019 | 0.041822 | 0.0023355 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0004759 | 304.0106 | 304.6824 | 18.1902 | 0.020431 | 4.4757 | 45.2966 | 18.3997 | 31.1965 | 4.5622 | 0.024931 | 2.6576 | 1.9046 | 0.015594 | 44.9198 | 0.90983 | 58.0846 | 499.5336 | 0.00055288
45 | 10:28:08 | 20 | 42 | G | E | 8376.5 | 0 | 2.9308 | 0.03823 | 362.6193 | 0.69901 | 1.7561 | 30.651 | 2 | 4.6449 | 0 | 4.6449 | 31.4474 | 30.651 | 31.5294 | 500.1432 | 498.8315 | 26.7126 | 26.9847 | 57.0333 | 57.6141 | 500.007 | 114.4195 | 0.049504 | 98.8058 | -2.1249 | 0.21147 | 0.1025 | 0.0040727 | 0.080076 | 0.0050021 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00069901 | 303.801 | 304.5974 | 18.3071 | -0.010888 | 4.4224 | 44.7582 | 17.7736 | 31.0492 | 4.5241 | 0.037918 | 2.6662 | 1.8578 | 0.023727 | 35.8289 | 0.72694 | 59.1486 | 497.9797 | 0.0034811
46 | 10:32:16 | 0 | 43 | H | E | 8625.5 | 0 | 1.2062 | 0.022463 | 399.7449 | 0.41449 | 1.7667 | 30.5621 | 2 | 4.6449 | 0 | 4.6449 | 31.2706 | 30.5621 | 31.3552 | 499.9097 | 499.3445 | 26.4919 | 26.6533 | 57.1293 | 57.4773 | 499.997 | 113.8705 | 0.035916 | 98.7984 | -2.0757 | 0.2176 | 0.025383 | 0.0020848 | 0.033128 | 0.002658 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00041449 | 303.7121 | 304.4206 | 18.2193 | 0.032474 | 4.3999 | 44.5346 | 17.8814 | 30.9163 | 4.4899 | 0.022355 | 2.6333 | 1.8566 | 0.013981 | 39.4942 | 0.80054 | 58.5669 | 498.9939 | 0.0014157
47 | 10:35:53 | 10 | 44 | H | E | 8842.5 | 0 | 1.7677 | 0.024459 | 370.0876 | 0.45358 | 1.7762 | 30.5889 | 2 | 4.6449 | 0 | 4.6449 | 31.2875 | 30.5889 | 31.3564 | 499.9947 | 499.1971 | 26.4485 | 26.6251 | 56.9805 | 57.361 | 500.0024 | 113.9017 | 0.091349 | 98.7974 | -2.0075 | 0.22218 | 0.12969 | 0.0012331 | 0.1215 | 0.0017775 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00045358 | 303.7389 | 304.4375 | 18.2243 | 0.025472 | 4.4067 | 44.6034 | 17.9783 | 30.9382 | 4.4955 | 0.024331 | 2.6305 | 1.865 | 0.015218 | 36.5637 | 0.74137 | 58.4234 | 498.6833 | 0.0020709
48 | 10:37:56 | 20 | 45 | H | E | 8964 | 0 | 2.675 | 0.042801 | 384.7497 | 0.80032 | 1.7974 | 30.7502 | 2 | 4.6449 | 0 | 4.6449 | 31.4337 | 30.7502 | 31.4918 | 500.0875 | 498.8578 | 26.5131 | 26.8247 | 56.6452 | 57.3108 | 500.0034 | 113.879 | 0.060409 | 98.7949 | -2.0742 | 0.22051 | 0.085046 | 0.0030276 | 0.066331 | 0.0030281 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00080032 | 303.9002 | 304.5837 | 18.2206 | -0.033441 | 4.4475 | 45.0178 | 18.1931 | 31.092 | 4.5351 | 0.04241 | 2.6501 | 1.8849 | 0.026541 | 38.0113 | 0.77126 | 58.4638 | 498.0804 | 0.0031398
49 | 10:40:46 | 0 | 46 | H | E | 9134 | 0 | 1.234 | 0.030474 | 420.8872 | 0.54916 | 1.7285 | 30.4218 | 2 | 4.6449 | 0 | 4.6449 | 31.184 | 30.4218 | 31.2939 | 499.9846 | 499.3813 | 26.4708 | 26.6847 | 57.3628 | 57.8262 | 499.9808 | 114.5791 | 0.17063 | 98.7927 | -1.9878 | 0.2171 | 0.14146 | 0.0039154 | 0.15716 | 0.0031405 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00054916 | 303.5718 | 304.334 | 18.3327 | 0.012719 | 4.3648 | 44.181 | 17.4963 | 30.8029 | 4.4609 | 0.030275 | 2.6362 | 1.8247 | 0.01894 | 41.5806 | 0.84282 | 59.2114 | 499.0226 | 0.0014641
50 | 10:43:27 | 10 | 47 | H | E | 9295 | 0 | 1.6706 | 0.025859 | 382.8401 | 0.45907 | 1.7015 | 30.2657 | 2 | 4.6449 | 0 | 4.6449 | 31.0076 | 30.2657 | 31.1236 | 500.0469 | 499.287 | 26.3859 | 26.5647 | 57.7557 | 58.147 | 499.9879 | 114.5548 | 0.062097 | 98.7916 | -2.1041 | 0.21407 | 0.08271 | 0.0032171 | 0.066197 | 0.0032095 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00045907 | 303.4157 | 304.1576 | 18.3288 | 0.02685 | 4.3259 | 43.7882 | 17.2235 | 30.6366 | 4.4188 | 0.025716 | 2.6244 | 1.7944 | 0.016085 | 37.8214 | 0.76677 | 59.458 | 498.8014 | 0.0019914
51 | 10:48:37 | 20 | 48 | H | E | 9605 | 0 | 0.6496 | 0.024122 | 442.5816 | 0.43731 | 1.7366 | 30.4069 | 2 | 4.6449 | 0 | 4.6449 | 31.1166 | 30.4069 | 31.1976 | 499.9344 | 499.5871 | 26.3971 | 26.5674 | 57.419 | 57.7893 | 500.0052 | 113.8394 | 0.051927 | 98.7856 | -2.0347 | 0.22126 | 0.049493 | 0.0015064 | 0.04686 | 0.0023607 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00043731 | 303.5569 | 304.2666 | 18.2143 | 0.028623 | 4.3611 | 44.1466 | 17.5793 | 30.7617 | 4.4505 | 0.023997 | 2.6245 | 1.826 | 0.015009 | 43.7207 | 0.88589 | 58.9336 | 499.3983 | 0.00076659

## plant_number_lvl
Tray | Plant | lvl
A | 1 | 10
A | 2 | 10
A | 3 | 0
A | 4 | 20
A | 5 | 20
A | 6 | 0
B | 7 | 0
B | 8 | 10
B | 9 | 10
B | 10 | 0
B | 11 | 20
B | 12 | 20
C | 13 | 20
C | 14 | 10
C | 15 | 10
C | 16 | 20
C | 17 | 0
C | 18 | 0
D | 19 | 20
D | 20 | 20
D | 21 | 10
D | 22 | 0
D | 23 | 0
D | 24 | 10
E | 25 | 0
E | 26 | 0
E | 27 | 10
E | 28 | 10
E | 29 | 20
E | 30 | 20
F | 31 | 10
F | 32 | 10
F | 33 | 0
F | 34 | 20
F | 35 | 20
F | 36 | 0
G | 37 | 0
G | 38 | 0
G | 39 | 10
G | 40 | 10
G | 41 | 20
G | 42 | 20
H | 43 | 0
H | 44 | 10
H | 45 | 20
H | 46 | 0
H | 47 | 10
H | 48 | 20

## cleaned
Obs | HHMMSS | Cd level | plant number | positon | stage | FTime | EBal? | Photo | Cond | Ci | Trmmol | VpdL | CTleaf | Area | BLC_1 | StmRat | BLCond | Tair | Tleaf | TBlk | CO2R | CO2S | H2OR | H2OS | RH_R | RH_S | Flow | PARi | PARo | Press | CsMch | HsMch | CsMchSD | HsMchSD | CrMchSD | HrMchSD | StableF | BLCslope | BLCoffst | f_parin | f_parout | alphaK | Status | fda | Trans | Tair_K | Twall_K | R(W/m2) | Tl-Ta | SVTleaf | h2o_i | h20diff | CTair | SVTair | CndTotal | vp_kPa | VpdA | CndCO2 | Ci_Pa | Ci/Ca | RHsfc | C2sfc | AHs/Cs
in | in | in | in | in | in | in | in | out | out | out | out | out | out | in | out | in | out | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | in | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out | out
1 | 08:15:14 | 10 | 1 | A | E | 403.5 | 0 | 2.7355 | 0.027386 | 328.7401 | 0.39485 | 1.389 | 27.3583 | 2 | 4.6449 | 0 | 4.6449 | 27.7717 | 27.3583 | 27.6752 | 500.1387 | 498.9656 | 22.7978 | 22.9521 | 60.1109 | 60.5178 | 499.9536 | 115.5939 | 0.031114 | 98.7343 | -1.7595 | 0.22417 | 0.060854 | 0.013627 | 0.052981 | 0.01245 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4998 | 0.00039485 | 300.5083 | 300.9217 | 18.495 | 0.022611 | 3.6552 | 37.0203 | 14.0681 | 27.565 | 3.6997 | 0.027225 | 2.2662 | 1.4335 | 0.01703 | 32.4579 | 0.65884 | 61.0537 | 498.1705 | 0.0033526
2 | 08:18:15 | 10 | 2 | A | E | 584.5 | 0 | 2.1967 | 0.048052 | 414.6645 | 0.69333 | 1.3957 | 27.5547 | 2 | 4.6449 | 0 | 4.6449 | 28.0326 | 27.5547 | 27.9544 | 500.1155 | 499.0984 | 23.041 | 23.3119 | 59.8365 | 60.5399 | 499.9935 | 115.0495 | 0.047688 | 98.7379 | -1.8205 | 0.23044 | 0.11403 | 0.0013606 | 0.099345 | 0.0030547 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00069333 | 300.7047 | 301.1826 | 18.4079 | -0.025006 | 3.6974 | 37.447 | 14.1351 | 27.7937 | 3.7494 | 0.04756 | 2.3018 | 1.4477 | 0.029769 | 40.9431 | 0.83083 | 61.4689 | 498.46 | 0.002709
3 | 08:21:13 | 0 | 3 | A | E | 762.5 | 0 | 2.8956 | 0.035876 | 358.5402 | 0.53496 | 1.4382 | 27.7899 | 2 | 4.6449 | 0 | 4.6449 | 28.245 | 27.7899 | 28.1851 | 500.0928 | 498.8278 | 23.1887 | 23.3977 | 59.4832 | 60.0193 | 499.9759 | 115.6756 | 0.037215 | 98.7437 | -1.8879 | 0.22725 | 0.020216 | 0.0013332 | 0.019997 | 0.0018023 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00053496 | 300.9399 | 301.395 | 18.5081 | 0.0010426 | 3.7486 | 37.9631 | 14.5654 | 28.0175 | 3.7987 | 0.035601 | 2.3104 | 1.4883 | 0.022275 | 35.4036 | 0.71877 | 60.7217 | 497.9862 | 0.0035307
4 | 08:24:04 | 20 | 4 | A | E | 933.5 | 0 | 2.188 | 0.05317 | 421.281 | 0.79613 | 1.4493 | 27.9347 | 2 | 4.6449 | 0 | 4.6449 | 28.4328 | 27.9347 | 28.3858 | 499.9317 | 498.8976 | 23.2949 | 23.6058 | 59.1117 | 59.9007 | 499.9777 | 115.7089 | 0.11502 | 98.7523 | -1.896 | 0.22575 | 0.058132 | 0.0019083 | 0.092246 | 0.0008401 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00079613 | 301.0847 | 301.5828 | 18.5134 | -0.040898 | 3.7804 | 38.2818 | 14.676 | 28.1838 | 3.8357 | 0.052569 | 2.3311 | 1.5046 | 0.032909 | 41.6025 | 0.84442 | 60.8869 | 498.2617 | 0.0026737
5 | 08:28:17 | 20 | 5 | A | E | 1185 | 0 | 2.9534 | 0.036789 | 358.8119 | 0.57023 | 1.4948 | 28.1504 | 2 | 4.6449 | 0 | 4.6449 | 28.6506 | 28.1504 | 28.6163 | 500.1294 | 498.8342 | 23.4042 | 23.6269 | 58.6487 | 59.2068 | 499.9737 | 115.6275 | 0.035701 | 98.7623 | -2.0064 | 0.22975 | 0.1067 | 0.0013053 | 0.10027 | 0.00092955 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00057023 | 301.3004 | 301.8006 | 18.5004 | -0.0028052 | 3.8282 | 38.7621 | 15.1352 | 28.4005 | 3.8843 | 0.0365 | 2.3334 | 1.5509 | 0.022838 | 35.4371 | 0.7193 | 60.0131 | 497.9758 | 0.0035592
7 | 08:34:44 | 0 | 6 | A | E | 1573.5 | 0 | 1.1839 | 0.02173 | 399.9757 | 0.36099 | 1.5961 | 28.6291 | 2 | 4.6449 | 0 | 4.6449 | 29.1239 | 28.6291 | 29.1057 | 500.0445 | 499.4988 | 23.5529 | 23.6939 | 57.4292 | 57.7729 | 499.9842 | 115.4616 | 0.052578 | 98.7688 | -2.0018 | 0.24735 | 0.070488 | 0.0013071 | 0.045363 | 0.0029871 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00036099 | 301.7791 | 302.2739 | 18.4739 | 0.03214 | 3.9363 | 39.8533 | 16.1595 | 28.8765 | 3.9931 | 0.021629 | 2.3402 | 1.6529 | 0.013527 | 39.5051 | 0.80075 | 58.317 | 499.1547 | 0.0013832
8 | 08:36:53 | 0 | 7 | B | E | 1701 | 0 | 0.048404 | 0.040868 | 484.8911 | 0.67046 | 1.5825 | 28.6636 | 2 | 4.6449 | 0 | 4.6449 | 29.2786 | 28.6636 | 29.2796 | 499.9751 | 499.8217 | 23.6489 | 23.9107 | 57.1514 | 57.784 | 499.9818 | 115.4231 | 0.09966 | 98.7705 | -1.8537 | 0.24294 | 0.18462 | 0.0029781 | 0.15945 | 0.0024048 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00067046 | 301.8136 | 302.4286 | 18.4677 | -0.014456 | 3.9441 | 39.9323 | 16.0217 | 28.9711 | 4.015 | 0.040511 | 2.3617 | 1.6534 | 0.025351 | 47.8929 | 0.97013 | 58.9164 | 499.8076 | 5.7058e-05
9 | 08:41:49 | 0 | 8 | B | E | 1998.5 | 0 | 1.5397 | 0.024034 | 384.9549 | 0.3881 | 1.5525 | 28.5088 | 2 | 4.6449 | 0 | 4.6449 | 29.2198 | 28.5088 | 29.281 | 500.0844 | 499.391 | 23.7038 | 23.8554 | 57.4828 | 57.8503 | 500.0037 | 115.8823 | 0.082436 | 98.777 | -2.0455 | 0.2443 | 0.06909 | 0.0018987 | 0.068095 | 0.0013253 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0003881 | 301.6588 | 302.3698 | 18.5412 | 0.037623 | 3.9089 | 39.5726 | 15.7172 | 28.8643 | 3.9903 | 0.02391 | 2.3564 | 1.6339 | 0.014955 | 38.0247 | 0.77085 | 59.1929 | 498.9434 | 0.0018267
10 | 08:42:35 | 10 | 8 | B | E | 2043 | 0 | 1.3391 | 0.019034 | 374.9114 | 0.30973 | 1.5627 | 28.5589 | 2 | 4.6449 | 0 | 4.6449 | 29.2466 | 28.5589 | 29.301 | 499.89 | 499.2924 | 23.7467 | 23.8676 | 57.4979 | 57.7907 | 499.9983 | 115.8177 | 0.096819 | 98.7774 | -2.0517 | 0.24258 | 0.0828 | 0.0055383 | 0.059968 | 0.0056157 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00030973 | 301.7089 | 302.3966 | 18.5308 | 0.049715 | 3.9203 | 39.6878 | 15.8202 | 28.9027 | 3.9992 | 0.018956 | 2.3576 | 1.6416 | 0.011855 | 37.0328 | 0.75089 | 58.9981 | 498.9032 | 0.0015836
11 | 08:44:40 | 10 | 9 | B | E | 2169.5 | 0 | 1.9442 | 0.038689 | 406.3302 | 0.63059 | 1.5712 | 28.729 | 2 | 4.6449 | 0 | 4.6449 | 29.4121 | 28.729 | 29.4458 | 500.101 | 499.1973 | 23.9289 | 24.1751 | 57.388 | 57.9784 | 499.98 | 115.2432 | 0.098837 | 98.777 | -1.9485 | 0.24025 | 0.033627 | 0.0035516 | 0.070852 | 0.0047777 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00063059 | 301.879 | 302.5621 | 18.4389 | -0.0047474 | 3.9591 | 40.0816 | 15.9066 | 29.0706 | 4.0382 | 0.03837 | 2.3879 | 1.6503 | 0.02401 | 40.1361 | 0.81397 | 59.336 | 498.6323 | 0.0023135
12 | 08:47:18 | 0 | 10 | B | E | 2327.5 | 0 | 2.8205 | 0.05292 | 400.6663 | 0.86946 | 1.5878 | 28.9752 | 2 | 4.6449 | 0 | 4.6449 | 29.6536 | 28.9752 | 29.6735 | 500.0118 | 498.7102 | 24.2433 | 24.5825 | 57.338 | 58.1404 | 499.9881 | 115.1159 | 0.096587 | 98.7765 | -1.9415 | 0.23496 | 0.040312 | 0.0046845 | 0.051236 | 0.0043034 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00086946 | 302.1252 | 302.8036 | 18.4185 | -0.045122 | 4.016 | 40.6574 | 16.0749 | 29.3144 | 4.0955 | 0.052324 | 2.4282 | 1.6673 | 0.032755 | 39.5764 | 0.80341 | 59.5898 | 497.8904 | 0.0033757
13 | 08:50:19 | 20 | 11 | B | E | 2508.5 | 0 | 1.1948 | 0.01955 | 389.3594 | 0.3266 | 1.603 | 29.0615 | 2 | 4.6449 | 0 | 4.6449 | 29.7502 | 29.0615 | 29.7925 | 499.9626 | 499.4194 | 24.5043 | 24.6317 | 57.6365 | 57.9362 | 499.9836 | 115.0897 | 0.097453 | 98.7813 | -1.9651 | 0.23984 | 0.036925 | 0.0029268 | 0.037258 | 0.0036783 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.0003266 | 302.2115 | 302.9002 | 18.4143 | 0.046626 | 4.0361 | 40.8591 | 16.2274 | 29.4059 | 4.1172 | 0.019468 | 2.4332 | 1.6841 | 0.012175 | 38.4614 | 0.77962 | 59.1121 | 499.0721 | 0.0014152
14 | 08:54:50 | 20 | 12 | B | E | 2779.5 | 0 | 1.3449 | 0.062227 | 451.7215 | 1.0122 | 1.5741 | 29.2597 | 2 | 4.6449 | 0 | 4.6449 | 30.0117 | 29.2597 | 30.0485 | 499.9547 | 499.2146 | 24.9994 | 25.394 | 57.925 | 58.8394 | 499.9922 | 114.997 | 0.025142 | 98.7837 | -2.0318 | 0.23793 | 0.025167 | 0.0016832 | 0.039126 | 0.0024953 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0010122 | 302.4097 | 303.1617 | 18.3995 | -0.065737 | 4.0826 | 41.3289 | 15.9349 | 29.6357 | 4.1721 | 0.061404 | 2.5085 | 1.6636 | 0.038451 | 44.6227 | 0.90486 | 60.6403 | 498.8237 | 0.0016349
15 | 08:58:53 | 20 | 13 | C | E | 3022.5 | 0 | 0.73883 | 0.042084 | 458.1857 | 0.70731 | 1.6185 | 29.5807 | 2 | 4.6449 | 0 | 4.6449 | 30.2935 | 29.5807 | 30.3203 | 499.9064 | 499.4696 | 25.441 | 25.7166 | 58.0035 | 58.6319 | 500.0184 | 114.8717 | 0.089836 | 98.7846 | -1.8987 | 0.23744 | 0.074239 | 0.0051982 | 0.055386 | 0.0050456 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00070731 | 302.7307 | 303.4435 | 18.3795 | -0.01624 | 4.1589 | 42.1008 | 16.3842 | 29.9371 | 4.2451 | 0.041706 | 2.5404 | 1.7047 | 0.0261 | 45.2617 | 0.91734 | 60.0792 | 499.2548 | 0.0008891
16 | 09:02:18 | 10 | 14 | C | E | 3227.5 | 0 | 2.8994 | 0.049274 | 391.333 | 0.84283 | 1.6489 | 29.845 | 2 | 4.6449 | 0 | 4.6449 | 30.5209 | 29.845 | 30.548 | 499.9537 | 498.626 | 25.7256 | 26.0539 | 57.8942 | 58.633 | 500.0919 | 182.819 | 0.065985 | 98.7856 | -1.8547 | 0.23477 | 0.041384 | 0.0027434 | 0.038846 | 0.0028554 | 0.25 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5005 | 0.00084283 | 302.995 | 303.6709 | 29.251 | 0.00080552 | 4.2227 | 42.7457 | 16.6918 | 30.1829 | 4.3054 | 0.048757 | 2.5738 | 1.7317 | 0.030519 | 38.6581 | 0.78482 | 59.9843 | 497.7833 | 0.0034939
17 | 09:05:48 | 10 | 15 | C | E | 3437.5 | 0 | 2.6955 | 0.031335 | 348.4679 | 0.54967 | 1.6841 | 29.9959 | 2 | 4.6449 | 0 | 4.6449 | 30.6823 | 29.9959 | 30.7098 | 500.045 | 498.8571 | 25.8567 | 26.0708 | 57.6521 | 58.1296 | 500.0083 | 114.2866 | 0.097798 | 98.7818 | -1.8776 | 0.23655 | 0.089777 | 0.0019903 | 0.098308 | 0.0018489 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00054967 | 303.1459 | 303.8323 | 18.2858 | 0.0088173 | 4.2594 | 43.1198 | 17.049 | 30.3391 | 4.3441 | 0.031125 | 2.5753 | 1.7688 | 0.019472 | 34.4223 | 0.69853 | 59.3189 | 498.0737 | 0.0032103
18 | 09:09:21 | 20 | 16 | C | E | 3650.5 | 0 | 1.9459 | 0.062489 | 435.56 | 1.0727 | 1.6587 | 30.0271 | 2 | 4.6449 | 0 | 4.6449 | 30.7824 | 30.0271 | 30.8164 | 499.9329 | 498.9404 | 25.9897 | 26.4074 | 57.6156 | 58.5417 | 499.9991 | 114.4532 | 0.14047 | 98.7771 | -1.7984 | 0.23092 | 0.025661 | 0.0015291 | 0.057676 | 0.001104 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0010727 | 303.1771 | 303.9324 | 18.3125 | -0.075795 | 4.2671 | 43.1993 | 16.7919 | 30.4048 | 4.3605 | 0.061659 | 2.6084 | 1.7521 | 0.038611 | 43.0233 | 0.87297 | 60.2623 | 498.3748 | 0.002353
19 | 09:12:04 | 0 | 17 | C | E | 3812.5 | 0 | 1.7123 | 0.023179 | 367.929 | 0.41636 | 1.7208 | 30.208 | 2 | 4.6449 | 0 | 4.6449 | 30.8595 | 30.208 | 30.8927 | 499.9147 | 499.1466 | 26.0667 | 26.2289 | 57.5319 | 57.8898 | 499.9994 | 114.2411 | 0.0064044 | 98.7759 | -1.9311 | 0.23486 | 0.032351 | 0.0022576 | 0.055944 | 0.001207 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00041636 | 303.358 | 304.0095 | 18.2786 | 0.029642 | 4.3116 | 43.6506 | 17.4217 | 30.5338 | 4.3928 | 0.023064 | 2.5908 | 1.802 | 0.014425 | 36.3425 | 0.73712 | 58.8486 | 498.6489 | 0.0020208
20 | 09:15:34 | 0 | 18 | C | E | 4022 | 0 | 2.4613 | 0.058057 | 417.2136 | 1.023 | 1.7005 | 30.2395 | 2 | 4.6449 | 0 | 4.6449 | 30.9937 | 30.2395 | 31.0337 | 500.0113 | 498.8226 | 26.1137 | 26.512 | 57.1999 | 58.0725 | 499.9947 | 114.413 | 0.10022 | 98.7823 | -2.0438 | 0.23205 | 0.12893 | 0.003976 | 0.091245 | 0.0032765 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.001023 | 303.3895 | 304.1437 | 18.3061 | -0.06744 | 4.3194 | 43.7265 | 17.2145 | 30.6166 | 4.4137 | 0.05734 | 2.6189 | 1.7948 | 0.035901 | 41.2133 | 0.8364 | 59.7023 | 498.1072 | 0.0029501
21 | 09:17:36 | 20 | 19 | D | E | 4145.5 | 0 | 2.8882 | 0.035707 | 356.1807 | 0.63961 | 1.7206 | 30.2705 | 2 | 4.6449 | 0 | 4.6449 | 31.0318 | 30.2705 | 31.086 | 500.0636 | 498.7807 | 26.1352 | 26.3843 | 57.1267 | 57.6711 | 500.0016 | 114.2774 | 0.066467 | 98.7891 | -1.8482 | 0.23292 | 0.085511 | 0.0024238 | 0.050841 | 0.0021187 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00063961 | 303.4205 | 304.1818 | 18.2844 | -0.0027603 | 4.3271 | 43.8014 | 17.4171 | 30.6511 | 4.4224 | 0.035435 | 2.6065 | 1.8159 | 0.022171 | 35.1868 | 0.7141 | 59.1044 | 497.9413 | 0.0034282
22 | 09:20:17 | 20 | 20 | D | E | 4305 | 0 | 1.9602 | 0.056022 | 429.2967 | 0.98578 | 1.6977 | 30.2367 | 2 | 4.6449 | 0 | 4.6449 | 31.0295 | 30.2367 | 31.0822 | 500.043 | 499.0621 | 26.1457 | 26.5296 | 57.1624 | 58.0016 | 499.9868 | 114.3322 | 0.093384 | 98.7981 | -1.9161 | 0.23615 | 0.15622 | 0.0037788 | 0.16853 | 0.0022012 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00098578 | 303.3867 | 304.1795 | 18.2932 | -0.059451 | 4.3187 | 43.7126 | 17.183 | 30.6331 | 4.4179 | 0.055355 | 2.6211 | 1.7968 | 0.034656 | 42.4137 | 0.86021 | 59.7456 | 498.4924 | 0.0023494
23 | 09:25:48 | 10 | 21 | D | E | 4636 | 0 | 0.41044 | 0.029582 | 463.5952 | 0.52857 | 1.7147 | 30.1663 | 2 | 4.6449 | 0 | 4.6449 | 30.9539 | 30.1663 | 31.0184 | 500.0309 | 499.761 | 25.975 | 26.1809 | 57.0352 | 57.4873 | 500.0046 | 114.2372 | 0.065689 | 98.7997 | -1.8962 | 0.23573 | 0.068038 | 0.0040026 | 0.07315 | 0.0016014 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00052857 | 303.3163 | 304.1039 | 18.278 | 0.017053 | 4.3013 | 43.5358 | 17.3549 | 30.5601 | 4.3995 | 0.029395 | 2.5867 | 1.8128 | 0.018389 | 45.8031 | 0.92763 | 58.958 | 499.6417 | 0.00048432
24 | 09:27:32 | 0 | 22 | D | E | 4740 | 0 | 1.4502 | 0.039616 | 426.944 | 0.7074 | 1.7172 | 30.1864 | 2 | 4.6449 | 0 | 4.6449 | 30.972 | 30.1864 | 31.0325 | 499.9898 | 499.2685 | 25.9292 | 26.2048 | 56.8769 | 57.4813 | 499.9965 | 114.4568 | 0.078541 | 98.801 | -1.9583 | 0.23226 | 0.12587 | 0.001564 | 0.073585 | 0.0041433 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0007074 | 303.3364 | 304.122 | 18.3131 | -0.012947 | 4.3063 | 43.5853 | 17.3805 | 30.5792 | 4.4043 | 0.039281 | 2.5891 | 1.8152 | 0.02458 | 42.1825 | 0.85514 | 59.0307 | 498.847 | 0.001716
25 | 09:29:27 | 0 | 23 | D | E | 4856.5 | 0 | 1.8604 | 0.054118 | 430.0362 | 0.96689 | 1.7233 | 30.228 | 2 | 4.6449 | 0 | 4.6449 | 30.9986 | 30.228 | 31.0535 | 499.9374 | 499.0002 | 25.871 | 26.2477 | 56.6622 | 57.4871 | 499.9812 | 114.0397 | 0.026483 | 98.7992 | -1.9188 | 0.23385 | 0.10207 | 0.005216 | 0.10866 | 0.0044004 | 1 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00096689 | 303.378 | 304.1486 | 18.2464 | -0.057484 | 4.3166 | 43.6903 | 17.4426 | 30.6133 | 4.4129 | 0.053494 | 2.5932 | 1.8196 | 0.033489 | 42.4872 | 0.8618 | 59.1064 | 498.4595 | 0.0022061
26 | 09:31:32 | 10 | 24 | D | E | 4980 | 0 | 2.0989 | 0.047181 | 414.0533 | 0.84755 | 1.7302 | 30.2071 | 2 | 4.6449 | 0 | 4.6449 | 31.0054 | 30.2071 | 31.0596 | 500.0958 | 499.0871 | 25.796 | 26.1262 | 56.4737 | 57.1965 | 500.0013 | 114.2817 | 0.052317 | 98.7956 | -2.0324 | 0.22813 | 0.18968 | 0.0028484 | 0.20003 | 0.0021216 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00084755 | 303.3571 | 304.1554 | 18.2851 | -0.036006 | 4.3114 | 43.6395 | 17.5133 | 30.6063 | 4.4111 | 0.046707 | 2.5812 | 1.8299 | 0.029234 | 40.9066 | 0.82962 | 58.8359 | 498.477 | 0.0024774
27 | 09:33:31 | 0 | 25 | E | E | 5100.5 | 0 | 3.2143 | 0.0498 | 381.3642 | 0.901 | 1.7434 | 30.2734 | 2 | 4.6449 | 0 | 4.6449 | 31.0673 | 30.2734 | 31.115 | 499.899 | 498.4337 | 25.8079 | 26.1588 | 56.3012 | 57.0668 | 500.0153 | 114.0222 | 0.063352 | 98.7964 | -1.9256 | 0.22108 | 0.055767 | 0.0019488 | 0.085653 | 0.0021871 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.000901 | 303.4234 | 304.2173 | 18.2435 | -0.045327 | 4.3278 | 43.8055 | 17.6466 | 30.6704 | 4.4273 | 0.049272 | 2.5844 | 1.8429 | 0.030842 | 37.6774 | 0.76513 | 58.6984 | 497.4995 | 0.0037924
28 | 09:35:40 | 0 | 26 | E | E | 5228 | 0 | 1.8393 | 0.045079 | 419.6658 | 0.82961 | 1.7711 | 30.4395 | 2 | 4.6449 | 0 | 4.6449 | 31.2363 | 30.4395 | 31.281 | 500.0313 | 499.13 | 25.9756 | 26.2988 | 56.1227 | 56.8208 | 500.0044 | 114.0345 | 0.062962 | 98.7934 | -1.9265 | 0.22416 | 0.12916 | 0.0034887 | 0.11316 | 0.0015925 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00082961 | 303.5895 | 304.3863 | 18.2455 | -0.033128 | 4.3692 | 44.2256 | 17.9269 | 30.8379 | 4.4699 | 0.044646 | 2.5981 | 1.8717 | 0.027942 | 41.4602 | 0.84079 | 58.3872 | 498.5954 | 0.0021539
29 | 09:37:43 | 10 | 27 | E | E | 5352.5 | 0 | 1.8605 | 0.034619 | 399.1072 | 0.64316 | 1.7836 | 30.5391 | 2 | 4.6449 | 0 | 4.6449 | 31.3564 | 30.5391 | 31.414 | 499.9499 | 499.0773 | 26.1732 | 26.4236 | 56.1662 | 56.7037 | 500.0012 | 113.9513 | 0.054222 | 98.7965 | -1.9283 | 0.21851 | 0.055192 | 0.0024655 | 0.049386 | 0.0026318 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00064316 | 303.6891 | 304.5064 | 18.2322 | -0.00086496 | 4.3942 | 44.4769 | 18.0533 | 30.9477 | 4.4979 | 0.034363 | 2.6106 | 1.8874 | 0.0215 | 39.4304 | 0.79969 | 58.2293 | 498.5366 | 0.0021731
30 | 09:39:32 | 10 | 28 | E | E | 5461.5 | 0 | 1.8664 | 0.029369 | 383.6751 | 0.55284 | 1.8048 | 30.6589 | 2 | 4.6449 | 0 | 4.6449 | 31.4113 | 30.6589 | 31.4697 | 500.1292 | 499.2722 | 26.2986 | 26.5138 | 56.261 | 56.7215 | 500.0136 | 113.6959 | 0.056083 | 98.7994 | -1.8755 | 0.21693 | 0.1108 | 0.0018322 | 0.10753 | 0.0026283 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00055284 | 303.8089 | 304.5613 | 18.1913 | 0.011188 | 4.4244 | 44.7815 | 18.2676 | 31.0351 | 4.5204 | 0.029185 | 2.6196 | 1.9009 | 0.018257 | 37.9069 | 0.76847 | 57.965 | 498.7298 | 0.0021692
31 | 09:42:39 | 20 | 29 | E | E | 5648 | 0 | 2.2135 | 0.021429 | 320.6612 | 0.40899 | 1.8264 | 30.8213 | 2 | 4.6449 | 0 | 4.6449 | 31.5865 | 30.8213 | 31.6689 | 500.1219 | 499.1548 | 26.5517 | 26.7109 | 56.2438 | 56.5811 | 500.0211 | 113.535 | 0.020598 | 98.8062 | -1.9598 | 0.2238 | 0.041607 | 0.0021566 | 0.066649 | 0.0042673 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00040899 | 303.9713 | 304.7365 | 18.1656 | 0.035907 | 4.4656 | 45.1957 | 18.4847 | 31.2039 | 4.5641 | 0.02133 | 2.6392 | 1.9249 | 0.01334 | 31.6833 | 0.64241 | 57.7702 | 498.5115 | 0.0025651
32 | 09:46:33 | 20 | 30 | E | E | 5881 | 0 | 1.4303 | 0.022594 | 383.9637 | 0.43056 | 1.8237 | 30.8815 | 2 | 4.6449 | 0 | 4.6449 | 31.6776 | 30.8815 | 31.7629 | 499.8503 | 499.1922 | 26.725 | 26.8926 | 56.3211 | 56.6742 | 500.0101 | 113.6205 | 0.12398 | 98.8097 | -1.9603 | 0.22574 | 0.096292 | 0.0018537 | 0.12075 | 0.0022874 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00043056 | 304.0315 | 304.8276 | 18.1793 | 0.033789 | 4.481 | 45.3497 | 18.4571 | 31.2795 | 4.5838 | 0.022485 | 2.6572 | 1.9265 | 0.014063 | 37.9393 | 0.76917 | 57.9797 | 498.7765 | 0.0016626
33 | 09:51:15 | 10 | 31 | F | E | 6163 | 0 | 0.1817 | 0.023016 | 471.9705 | 0.45057 | 1.8733 | 31.0995 | 2 | 4.6449 | 0 | 4.6449 | 31.8974 | 31.0995 | 31.9852 | 500.1045 | 499.9417 | 26.7807 | 26.9561 | 55.7446 | 56.1096 | 500.0159 | 113.4324 | 0.10256 | 98.8186 | -1.9578 | 0.22013 | 0.052023 | 0.0055716 | 0.053158 | 0.0042933 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00045057 | 304.2495 | 305.0474 | 18.1492 | 0.030471 | 4.537 | 45.9129 | 18.9568 | 31.4985 | 4.6412 | 0.022902 | 2.6638 | 1.9774 | 0.014324 | 46.6394 | 0.94405 | 57.3614 | 499.8889 | 0.0002085
34 | 09:54:34 | 10 | 32 | F | E | 6363.5 | 0 | 3.7484 | 0.049532 | 362.7048 | 0.94258 | 1.8318 | 30.9135 | 2 | 4.6449 | 0 | 4.6449 | 31.794 | 30.9135 | 31.9327 | 499.8037 | 498.1165 | 26.5239 | 26.8908 | 55.5347 | 56.3029 | 499.9894 | 114.4672 | 0.090657 | 98.8193 | -2.0637 | 0.21766 | 0.040882 | 0.0048219 | 0.069131 | 0.0052062 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00094258 | 304.0635 | 304.944 | 18.3148 | -0.047763 | 4.4892 | 45.428 | 18.5372 | 31.3537 | 4.6032 | 0.049009 | 2.6573 | 1.9458 | 0.030677 | 35.8422 | 0.72815 | 58.1101 | 497.027 | 0.0043824
35 | 09:59:03 | 0 | 33 | F | E | 6632.5 | 0 | 1.9661 | 0.029676 | 378.5803 | 0.58491 | 1.889 | 31.0648 | 2 | 4.6449 | 0 | 4.6449 | 31.8276 | 31.0648 | 31.9348 | 499.9788 | 499.0757 | 26.4782 | 26.7059 | 55.3331 | 55.8089 | 500.03 | 113.439 | 0.0059285 | 98.8179 | -2.0753 | 0.22546 | 0.017394 | 0.0033388 | 0.023483 | 0.0011333 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5002 | 0.00058491 | 304.2148 | 304.9776 | 18.1502 | 0.0062644 | 4.5281 | 45.8224 | 19.1164 | 31.4462 | 4.6274 | 0.029488 | 2.639 | 1.9884 | 0.018447 | 37.4105 | 0.75856 | 56.9864 | 498.5042 | 0.0022475
36 | 10:02:24 | 20 | 34 | F | E | 6832 | 0 | 2.5273 | 0.032127 | 358.5029 | 0.64129 | 1.9133 | 31.2735 | 2 | 4.6449 | 0 | 4.6449 | 31.9945 | 31.2735 | 32.0732 | 500.0244 | 498.8856 | 26.7585 | 27.008 | 55.3931 | 55.9097 | 500.0115 | 113.6278 | 0.016963 | 98.8189 | -2.0634 | 0.21353 | 0.13189 | 0.00138 | 0.17047 | 0.0011728 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00064129 | 304.4235 | 305.1445 | 18.1804 | -0.004968 | 4.5822 | 46.3699 | 19.3618 | 31.634 | 4.6771 | 0.031906 | 2.6689 | 2.0081 | 0.019961 | 35.4268 | 0.71861 | 56.9523 | 498.151 | 0.0028894
37 | 10:07:48 | 20 | 35 | F | E | 7156 | 0 | 2.2772 | 0.034942 | 380.8366 | 0.64872 | 1.7819 | 30.7434 | 2 | 4.6449 | 0 | 4.6449 | 31.5345 | 30.7434 | 31.6583 | 499.976 | 498.9357 | 26.7052 | 26.9577 | 56.7426 | 57.2791 | 500.0107 | 114.2521 | 0.067419 | 98.8169 | -2.0975 | 0.21289 | 0.039867 | 0.0014091 | 0.020629 | 0.00087563 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00064872 | 303.8934 | 304.6845 | 18.2803 | -0.0027577 | 4.4458 | 44.9902 | 18.0325 | 31.1389 | 4.5472 | 0.034681 | 2.6639 | 1.8834 | 0.021699 | 37.6331 | 0.7633 | 58.7338 | 498.2738 | 0.0026843
38 | 10:10:22 | 0 | 36 | F | E | 7310 | 0 | 3.4131 | 0.052132 | 379.5522 | 0.95799 | 1.7699 | 30.7757 | 2 | 4.6449 | 0 | 4.6449 | 31.5676 | 30.7757 | 31.6646 | 499.8958 | 498.3397 | 26.79 | 27.1628 | 56.815 | 57.6056 | 500.0211 | 114.1198 | 0.050455 | 98.8155 | -2.0285 | 0.21455 | 0.029066 | 0.0012895 | 0.020203 | 0.0012069 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00095799 | 303.9257 | 304.7176 | 18.2592 | -0.054743 | 4.454 | 45.074 | 17.9112 | 31.1717 | 4.5557 | 0.051554 | 2.6841 | 1.8716 | 0.032272 | 37.5056 | 0.76163 | 59.2312 | 497.3477 | 0.0040648
39 | 10:12:20 | 20 | 37 | G | E | 7429.5 | 0 | 2.5967 | 0.042035 | 385.8143 | 0.78351 | 1.7912 | 30.862 | 2 | 4.6449 | 0 | 4.6449 | 31.6328 | 30.862 | 31.7141 | 499.9063 | 498.7114 | 26.8658 | 27.1707 | 56.7644 | 57.4086 | 500.0157 | 113.7761 | 0.0085244 | 98.8141 | -2.1117 | 0.21265 | 0.054575 | 0.0028668 | 0.073991 | 0.0011277 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00078351 | 304.012 | 304.7828 | 18.2042 | -0.026591 | 4.476 | 45.2973 | 18.1266 | 31.2474 | 4.5754 | 0.041658 | 2.6848 | 1.8906 | 0.02607 | 38.1239 | 0.77362 | 58.851 | 497.9566 | 0.0030689
40 | 10:14:47 | 0 | 38 | G | E | 7575.5 | 0 | 0.72946 | 0.014145 | 402.8126 | 0.27375 | 1.8482 | 31.0375 | 2 | 4.6449 | 0 | 4.6449 | 31.7345 | 31.0375 | 31.8058 | 499.8901 | 499.5436 | 26.9426 | 27.0492 | 56.5982 | 56.822 | 500.0243 | 113.5469 | 0.0077024 | 98.8125 | -2.1238 | 0.21943 | 0.025024 | 0.0020188 | 0.023787 | 0.0017018 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5001 | 0.00027375 | 304.1875 | 304.8845 | 18.1675 | 0.05553 | 4.521 | 45.7536 | 18.7045 | 31.386 | 4.6116 | 0.014103 | 2.6728 | 1.9388 | 0.0088179 | 39.8029 | 0.80636 | 57.7036 | 499.3316 | 0.00084298
41 | 10:17:02 | 0 | 37 | G | E | 7711.5 | 0 | 4.0171 | 0.046356 | 345.7506 | 0.86187 | 1.7882 | 30.8725 | 2 | 4.6449 | 0 | 4.6449 | 31.7136 | 30.8725 | 31.8174 | 500.0266 | 498.248 | 26.893 | 27.2283 | 56.561 | 57.2664 | 499.995 | 114.3828 | 0.050846 | 98.8123 | -2.095 | 0.21291 | 0.055577 | 0.0063025 | 0.092838 | 0.0080535 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00086187 | 304.0225 | 304.8636 | 18.3013 | -0.036112 | 4.4787 | 45.3251 | 18.0968 | 31.293 | 4.5873 | 0.045898 | 2.6905 | 1.8968 | 0.028727 | 34.1644 | 0.69393 | 58.9798 | 497.0804 | 0.0047664
42 | 10:19:16 | 10 | 39 | G | E | 7845.5 | 0 | 0.20411 | 0.040843 | 477.3063 | 0.74231 | 1.7467 | 30.6245 | 2 | 4.6449 | 0 | 4.6449 | 31.5005 | 30.6245 | 31.653 | 499.9044 | 499.6744 | 26.7222 | 27.0111 | 56.8849 | 57.4999 | 499.9992 | 114.7056 | 0.044268 | 98.8107 | -2.1928 | 0.21751 | 0.13695 | 0.0080881 | 0.10604 | 0.0071666 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00074231 | 303.7745 | 304.6505 | 18.3529 | -0.01431 | 4.4157 | 44.6884 | 17.6773 | 31.0625 | 4.5275 | 0.040487 | 2.669 | 1.8585 | 0.025336 | 47.163 | 0.95523 | 59.3301 | 499.6151 | 0.00024238
43 | 10:23:37 | 20 | 41 | G | E | 8105 | 0 | 2.3091 | 0.031787 | 369.0656 | 0.5908 | 1.7828 | 30.68 | 2 | 4.6449 | 0 | 4.6449 | 31.404 | 30.68 | 31.4909 | 499.9978 | 498.9563 | 26.5586 | 26.7886 | 56.8457 | 57.338 | 500.0054 | 113.9655 | 0.070059 | 98.8077 | -2.1277 | 0.21891 | 0.091126 | 0.0023098 | 0.088838 | 0.0024886 | 0.5 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0005908 | 303.83 | 304.554 | 18.2345 | 0.0036627 | 4.4297 | 44.8318 | 18.0432 | 31.042 | 4.5222 | 0.031571 | 2.6469 | 1.8753 | 0.019751 | 36.4665 | 0.73968 | 58.5425 | 498.2851 | 0.0027129
44 | 10:25:33 | 10 | 40 | G | E | 8221 | 0 | 0.47548 | 0.025066 | 454.6186 | 0.4759 | 1.818 | 30.8606 | 2 | 4.6449 | 0 | 4.6449 | 31.5324 | 30.8606 | 31.5805 | 499.9571 | 499.6718 | 26.7117 | 26.8969 | 56.7577 | 57.1513 | 500.0041 | 113.6885 | 0.099223 | 98.8077 | -1.9346 | 0.21379 | 0.029845 | 0.0042019 | 0.041822 | 0.0023355 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.0004759 | 304.0106 | 304.6824 | 18.1902 | 0.020431 | 4.4757 | 45.2966 | 18.3997 | 31.1965 | 4.5622 | 0.024931 | 2.6576 | 1.9046 | 0.015594 | 44.9198 | 0.90983 | 58.0846 | 499.5336 | 0.00055288
45 | 10:28:08 | 20 | 42 | G | E | 8376.5 | 0 | 2.9308 | 0.03823 | 362.6193 | 0.69901 | 1.7561 | 30.651 | 2 | 4.6449 | 0 | 4.6449 | 31.4474 | 30.651 | 31.5294 | 500.1432 | 498.8315 | 26.7126 | 26.9847 | 57.0333 | 57.6141 | 500.007 | 114.4195 | 0.049504 | 98.8058 | -2.1249 | 0.21147 | 0.1025 | 0.0040727 | 0.080076 | 0.0050021 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00069901 | 303.801 | 304.5974 | 18.3071 | -0.010888 | 4.4224 | 44.7582 | 17.7736 | 31.0492 | 4.5241 | 0.037918 | 2.6662 | 1.8578 | 0.023727 | 35.8289 | 0.72694 | 59.1486 | 497.9797 | 0.0034811
46 | 10:32:16 | 0 | 43 | H | E | 8625.5 | 0 | 1.2062 | 0.022463 | 399.7449 | 0.41449 | 1.7667 | 30.5621 | 2 | 4.6449 | 0 | 4.6449 | 31.2706 | 30.5621 | 31.3552 | 499.9097 | 499.3445 | 26.4919 | 26.6533 | 57.1293 | 57.4773 | 499.997 | 113.8705 | 0.035916 | 98.7984 | -2.0757 | 0.2176 | 0.025383 | 0.0020848 | 0.033128 | 0.002658 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00041449 | 303.7121 | 304.4206 | 18.2193 | 0.032474 | 4.3999 | 44.5346 | 17.8814 | 30.9163 | 4.4899 | 0.022355 | 2.6333 | 1.8566 | 0.013981 | 39.4942 | 0.80054 | 58.5669 | 498.9939 | 0.0014157
47 | 10:35:53 | 10 | 44 | H | E | 8842.5 | 0 | 1.7677 | 0.024459 | 370.0876 | 0.45358 | 1.7762 | 30.5889 | 2 | 4.6449 | 0 | 4.6449 | 31.2875 | 30.5889 | 31.3564 | 499.9947 | 499.1971 | 26.4485 | 26.6251 | 56.9805 | 57.361 | 500.0024 | 113.9017 | 0.091349 | 98.7974 | -2.0075 | 0.22218 | 0.12969 | 0.0012331 | 0.1215 | 0.0017775 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00045358 | 303.7389 | 304.4375 | 18.2243 | 0.025472 | 4.4067 | 44.6034 | 17.9783 | 30.9382 | 4.4955 | 0.024331 | 2.6305 | 1.865 | 0.015218 | 36.5637 | 0.74137 | 58.4234 | 498.6833 | 0.0020709
48 | 10:37:56 | 20 | 45 | H | E | 8964 | 0 | 2.675 | 0.042801 | 384.7497 | 0.80032 | 1.7974 | 30.7502 | 2 | 4.6449 | 0 | 4.6449 | 31.4337 | 30.7502 | 31.4918 | 500.0875 | 498.8578 | 26.5131 | 26.8247 | 56.6452 | 57.3108 | 500.0034 | 113.879 | 0.060409 | 98.7949 | -2.0742 | 0.22051 | 0.085046 | 0.0030276 | 0.066331 | 0.0030281 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00080032 | 303.9002 | 304.5837 | 18.2206 | -0.033441 | 4.4475 | 45.0178 | 18.1931 | 31.092 | 4.5351 | 0.04241 | 2.6501 | 1.8849 | 0.026541 | 38.0113 | 0.77126 | 58.4638 | 498.0804 | 0.0031398
49 | 10:40:46 | 0 | 46 | H | E | 9134 | 0 | 1.234 | 0.030474 | 420.8872 | 0.54916 | 1.7285 | 30.4218 | 2 | 4.6449 | 0 | 4.6449 | 31.184 | 30.4218 | 31.2939 | 499.9846 | 499.3813 | 26.4708 | 26.6847 | 57.3628 | 57.8262 | 499.9808 | 114.5791 | 0.17063 | 98.7927 | -1.9878 | 0.2171 | 0.14146 | 0.0039154 | 0.15716 | 0.0031405 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00054916 | 303.5718 | 304.334 | 18.3327 | 0.012719 | 4.3648 | 44.181 | 17.4963 | 30.8029 | 4.4609 | 0.030275 | 2.6362 | 1.8247 | 0.01894 | 41.5806 | 0.84282 | 59.2114 | 499.0226 | 0.0014641
50 | 10:43:27 | 10 | 47 | H | E | 9295 | 0 | 1.6706 | 0.025859 | 382.8401 | 0.45907 | 1.7015 | 30.2657 | 2 | 4.6449 | 0 | 4.6449 | 31.0076 | 30.2657 | 31.1236 | 500.0469 | 499.287 | 26.3859 | 26.5647 | 57.7557 | 58.147 | 499.9879 | 114.5548 | 0.062097 | 98.7916 | -2.1041 | 0.21407 | 0.08271 | 0.0032171 | 0.066197 | 0.0032095 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.4999 | 0.00045907 | 303.4157 | 304.1576 | 18.3288 | 0.02685 | 4.3259 | 43.7882 | 17.2235 | 30.6366 | 4.4188 | 0.025716 | 2.6244 | 1.7944 | 0.016085 | 37.8214 | 0.76677 | 59.458 | 498.8014 | 0.0019914
51 | 10:48:37 | 20 | 48 | H | E | 9605 | 0 | 0.6496 | 0.024122 | 442.5816 | 0.43731 | 1.7366 | 30.4069 | 2 | 4.6449 | 0 | 4.6449 | 31.1166 | 30.4069 | 31.1976 | 499.9344 | 499.5871 | 26.3971 | 26.5674 | 57.419 | 57.7893 | 500.0052 | 113.8394 | 0.051927 | 98.7856 | -2.0347 | 0.22126 | 0.049493 | 0.0015064 | 0.04686 | 0.0023607 | 0.75 | -1.3551 | 7.3551 | 1 | 0 | 0.16 | 111115 | 2.5 | 0.00043731 | 303.5569 | 304.2666 | 18.2143 | 0.028623 | 4.3611 | 44.1466 | 17.5793 | 30.7617 | 4.4505 | 0.023997 | 2.6245 | 1.826 | 0.015009 | 43.7207 | 0.88589 | 58.9336 | 499.3983 | 0.00076659

## removed_data
original |  | kept | removed | reason | contingency
1 | 08:15:14 | 1
2 | 08:18:15 | 2
3 | 08:21:13 | 3
4 | 08:24:04 | 4
5 | 08:28:17 | 5
Remark= | "08:32:15 Didn't match! Valve stuck or flow problem."
6 | 08:32:10 |  | 6 | value out of range | use other observation sof the same plant
7 | 08:34:44 | 7
8 | 08:36:53 | 8
9 | 08:41:49 | 9
10 | 08:42:35 | 10
11 | 08:44:40 | 11
12 | 08:47:18 | 12
13 | 08:50:19 | 13
14 | 08:54:50 | 14
15 | 08:58:53 | 15
16 | 09:02:18 | 16
17 | 09:05:48 | 17
18 | 09:09:21 | 18
19 | 09:12:04 | 19
20 | 09:15:34 | 20
21 | 09:17:36 | 21
22 | 09:20:17 | 22
23 | 09:25:48 | 23
24 | 09:27:32 | 24
25 | 09:29:27 | 25
26 | 09:31:32 | 26
27 | 09:33:31 | 27
28 | 09:35:40 | 28
29 | 09:37:43 | 29
30 | 09:39:32 | 30
31 | 09:42:39 | 31
32 | 09:46:33 | 32
33 | 09:51:15 | 33
34 | 09:54:34 | 34
35 | 09:59:03 | 35
36 | 10:02:24 | 36
37 | 10:07:48 | 37
38 | 10:10:22 | 38
39 | 10:12:20 | 39
40 | 10:14:47 | 40
41 | 10:17:02 | 41
42 | 10:19:16 | 42
43 | 10:23:37 | 43
44 | 10:25:33 | 44
45 | 10:28:08 | 45
46 | 10:32:16 | 46
47 | 10:35:53 | 47
48 | 10:37:56 | 48
49 | 10:40:46 | 49
50 | 10:43:27 | 50
51 | 10:48:37 | 51